## Exterior
LEGEND | Exterior
ü = ITEM OK
X = REPAIR COMPLETE
\ = NEEDS REPAIR
n = NOT APPLICABLE
Quarter: Use a new sheet quarterly | Date & Initials
| (Date & Initials here) | (Date & Initials here) | (Date & Initials here) | (Date & Initials here)
SIGNS
GREAT SIGN - appearance, un-obstructured, visibility, lighting
ENTRANCE / EXIT SIGN - appearance, lighting, visibility
DIRECTIONAL SIGNS - appearance, proper location, visibility, (day and night)
READER BOARD - appearance, lighting, visibility, appropriate supply of letters
RESTAURANT/LOUNGE SIGNS - appearance, lighting, visibility (day and night)
FLAGS / POLE - appearance, placement, lighted at night
LANDSCAPING
GENERAL LANDSCAPING - appealing, appearance, healthy
GROUNDS - no litter/ clutter/ weeds, healthy plants, irrigated
LAWN - cut, healthy irrigated, no excessive leaves
TREES / SHRUBS -appearance, proper shape, not intruding over walkways
FLOWERS - abundant in season, located properly near entrance / walkways, healthy
PLANTERS/ ISLANDS - appearance, repair, painted, properly irrigated, healthy
LANDSCAPING MAN-MADE
LOT SURFACE CONDITIONS - appearance, no chock-holes, or wide cracks, proper drainage
STRIPPING - visible, size 9" wide x 18" long with 2" overhang max, entire lot marked (no parking, handicap)
LOT LIGHTING - adequate throughout lot, 100% functional, no burned-out bulbs
SIDEWALKS - appearance, repair, no grass in cracks, ramps, proper drainage
CURBS - good, repair, proper placement, parking space and perimeter, parking space set to allow 2" overhang maximum on to walkway
HANDICAPPED SPACE / SIGN - adequate spaces, proper signage, 12' wide by 18' long ramp available, positioned not to cross drive or go behind cars
DELIVERY AREA - appearance, signage, clean, free of clutter and litter
PARKING GARAGE - appearance, proper lighting, good repair, free of clutter, adequate safety considerations.
BUILDING EXTERIORS
PORTE COCHERE - appearance, repair, lighting
EXTERIOR SURFACE - appearance, repair, paint, well maintained
WINDOWS / SHUTTERS - appearance, repair, fit, matched, weather stripped
SCREENS - appearance, fit, repair, continuity
DOORS - appearance, repair, paint, ease in opening, locks, direction of swing
A/C VENTS - appearance, clean, screened
WALKWAYS / CORRIDORS - appearance, repair, free of clutter and debris
BALCONIES - appearance, repair, paint, clean sturdy railing, non skid surface
RAILINGS - repair, paint, sturdy, both sides of stairways
STAIRS - repair, paint, railed, closed risers, non-skid surface, no trip hazards
FENCING - appearance, repair, paint
ROOF - appearance, repair
UTILITY AREAS - appearance, repair, free of clutter, liter
LIGHTING - adequate, working, no burned-out bulbs
RECREATIONAL FACILITIES
ALL EXTERIOR FURNITURE - appearance, repair, paint, sturdy, matches quantity
POOL GENERAL - appearance, repair, clean , no smell, signage
POOL FENCE - appearance, repair, self closing gate, total enclosure, meets code
OUTDOOR POOL FURNITURE - appearance, repair, sturdy, matches, quantity
DECK / WALKWAYS - appearance, no cracks, not lawn encroached, ramps, proper drainage, no staining, no trip hazards, non-slip surface
POOL SIGNAGE - appropriate, visible, appearance, repair
POOL DEPTH MARKS - appropriate, at water line, on perimeter apron, visible, proper warning marked
LIFE SAVING EQUIPMENT - accessible, appropriate, repair, instruction signage
POOL LANDSCAPING - appearance, appealing, healthy, flower bedding irrigated
TRASH RECEPTACLES - appearance, repair, accessible, quantity
SPA / JACUZZI - appearance, repair, clean, signage, temperature warnings posted
OTHER
DUMPSTER - appearance, repair, free of clutter/ litter/ debris, proper enclosure/gate
GUEST VAN / UTILITY VAN - appearance, repair, clean, no body damage
VENDING MACHINES - repair, clean
SATELLITE DISH - appearance, repair, clean, protected
GUEST LAUNDRY FACILITIES - appearance, repair, clean, drainage, non-slip surface, no trip hazards, operating hours posted
POOL BAR - appearance, repair, clean
DRINKING FOUNTAIN - appearance, repair, clean, pressure, water temperature
FIRE EXTINGUISHERS - accessible, directions posted, inspected, tagged, numbered
| QRT 1 | QRT 2 | QRT 3 | QRT 4

## Corridor
LEGEND | Corridor
ü = ITEM OK
X = REPAIR COMPLETE
\ = NEEDS REPAIR
n = NOT APPLICABLE
Quarter: Use a new sheet quarterly | Date & Initials
| (Date & Initials here) | (Date & Initials here) | (Date & Initials here) | (Date & Initials here)
WALL / FLOOR / CEILING
BASEBOARDS AND CORNER GUARDS: appearance, repair, scratches, loose boards
FLOOR AND WALL COVERING: appearance, repair, stain
CARPET: appearance, clean, no burn holes, no puckering, no trip hazards
PICTURES: mounting, appearance
CEILING: appearance, repair, no cracks / peeling paint / stained tiles, dust / cobwebs
PAINT & VINYL: appearance, repair, paint splatter, peeling tears
FURNITURE
CHAIRS: appearance, repair, sturdy
TABLES: appearance, repair, sturdy
TRASH RECEPTACLES: appearance, repair, sturdy
ELECTRICAL
LAMP SWITCHES: operation, damage, color coordinated, dimmers where required
LAMP SOCKETS: tight, functional
LAMP SHADES: appearance, repair, clean, color coordinated
BULBS: replace as necessary, proper wattage
PLUGS /WIRES: replace as necessary, repair, not under rug, no long extension cords in use
EMERGENCY LIGHTING check operation, test charging unit
LIGHT FIXTURES appearance, repair, operation, clean
OUTLET WALL PLATES: appearance, repair, match wall color, clean, secure, all screws intact, replace if necessary
SWITCHES: appearance, functional, repair, match wall color, clean, secure, all screws intact, replace if necessary
WINDOWS / SHUTTERS - appearance, repair, fit, matched, weather stripped
GLASS: clean, no damage
DRAPES: appearance, repair, clean, hung properly, secure, all hardware intact
WINDOW HARDWARE: secure, clean, ensure blackout
WINDOW GUIDES / STOPS: repair, lubricate, replace if necessary
COOLING / HEATING
VALVES: operation and correct positioning
THERMOSTAT: secure, functioning, adjustment, cycle time
FILTERS AND GRILLS: appearance, repair, clean
CONDENSATE WATER PAN AND DRAIN: clean, no smell, no leaks, drains freely
BLOWER FAN: clean, lubricated, check belts, blades repair, quiet operation
LEAKS: check for leaks, compressor checks
COOLING / HEATING: functioning, comfort
OTHER
EMERGENCY EXIT: check operation, signage, lights burned out, emergency lights, check alarm if equipped
STAIRS: repair, railed, closed risers, non-skid surface, no trip hazard
VENDING MACHINES: repair, clean
SIGNAGE: professional, appearance, repair, visible
FIRE EXTINGUISHERS: accessible, directions posted, proper charge, inspected tagged, numbered
FIRE HOSE: inspected, directions posted
FIRE ALARMS: functional
STORAGE AREAS: functional, clean, free of clutter, locks functioning, shelves secure
| QRT 1 | QRT 2 | QRT 3 | QRT 4

## BanquetMeetingRoom
LEGEND | Banquet / Meeting Room
ü = ITEM OK
X = REPAIR COMPLETE
\ = NEEDS REPAIR
n = NOT APPLICABLE
Quarter: Use a new sheet quarterly | Date & Initials
| (Date & Initials here) | (Date & Initials here) | (Date & Initials here) | (Date & Initials here)
DOORS
ENTRANCE / DOORS GENERAL: appearance, repair, damage
HANDLES: secure, in good repair
HINGES AND HINGE PINS: lubricate and secure
DOOR FRAME: appearance, repair
BUMPERS: replace if necessary
CHECK AND ADJUST DOOR CLOSERS: smooth, shuts properly, aligned
CHECK ALL DOORS FOR SMOOTH TIGHT FIT: adjust if needed
CHECK LOCKS FOR EASE OF OPERATION: lubricate, repair
DOOR STOPS: check, replace if necessary
EMERGENCY EXIT: check operation, signage, lights burned out, check alarm if equipped
DOOR VIEWER: in place, functional
WALLS / FLOOR CEILING
BASEBOARDS AND CORNER GUARDS: appearance, repair, scratches, loose boards
FLOOR AND WALL COVERING: appearance, repair, stain
CARPET: appearance, clean, no burn holes, no puckering, no trip hazards
PICTURES: mounting, appearance
CEILING: appearance, repair, no cracks / peeling paint / stained tiles, dust / cobwebs
PAINT & VINYL: appearance, repair, paint splatter, peeling tears
FURNITURE
CHAIRS: appearance, repair, sturdy
TABLES: appearance, repair, sturdy
TRASH RECEPTACLES: appearance, repair, sturdy
COUNTERTOPS: appearance, repair, defects
CABINETS: appearance, repair, operation, sturdy, locks, functioning
RISERS: appearance, repair, sturdy
ELECTRICAL
LAMP SWITCHES: operation, damage, color coordinated, dimmers where required
LAMP SOCKETS: tight, functional
LAMP SHADES: appearance, repair, clean, color coordinated
BULBS: replace as necessary, proper wattage
PLUGS /WIRES: replace as necessary, repair, not under rug, no long extension cords in use
EMERGENCY LIGHTING check operation, test charging unit
LIGHT FIXTURES appearance, repair, operation, clean
OUTLET WALL PLATES: appearance, repair, match wall color, clean, secure, all screws intact, replace if necessary
SWITCHES: appearance, functional, repair, match wall color, clean, secure, all screws intact, replace if necessary
WINDOWS
GLASS- clean, no damage
WINDOW TREATMENTS - hung properly, secure, all hardware intact, clean, appearance
WINDOW HARDWARE - secure, clean, functional
WINDOW GUIDES / STOPS - repair, lubricate, replace if necessary
COOLING / HEATING
VALVES: operation and correct positioning
THERMOSTAT: secure, functioning, adjustment, cycle time
FILTERS AND GRILLS: appearance, repair, clean
CONDENSATE WATER PAN AND DRAIN: clean, no smell, no leaks, drains freely
BLOWER FAN: clean, lubricated, check belts, blades repair, quiet operation
LEAKS: check for leaks, compressor checks
COOLING / HEATING: functioning, comfort
TELEPHONE
DIALING INSTRUCTIONS: clean, legible, replace if necessary
DEFECT: report all telephone defects to proper vendor or repair / replace if hotel owned
EQUIPMENT
LECTERN / PODIUM: appearance, repair, clean, sturdy
DANCE FLOOR: sturdy, appearance, repair, no trip hazards, portable carpet cover in place or beveled edge riser
BLACKBOARDS: sturdy, good repair
MOVIE SCREENS: sturdy, good repair, mounted properly
FLIP CHARTS: sturdy, good repair
SOUND SYSTEM: functional, controllable, in good repair
PROJECTORS: functional, in good repair
AUDIO VISUAL EQUIPMENT: functional, In good repair
MESSAGE BOARD: sturdy, mounted properly
IN FLOOR ELECTRICAL OUTLETS: functional, covers in place, clean
ROOM DIVIDERS: functional, repair, appearance, clean
OTHER
SIGNAGE: professional, appearance, repair, visible
FIRE EXTINGUISHER: accessible, directions posted, proper charge, inspected, tagged, numbered
STORAGE AREAS: functional, clean, free of clutter, locks functioning, shelves secure
PEST CONTROL: adequate, no sign of bugs or pests
TRASH CONTAINERS: appearance, repair, accessibility, screened from guests

## GuestRoom
LEGEND | Guest Room #
ü = ITEM OK
X = REPAIR COMPLETE
\ = NEEDS REPAIR
n = NOT APPLICABLE
Quarter: Use a new sheet quarterly | Date & Initials
| (Date & Initials here) | (Date & Initials here) | (Date & Initials here) | (Date & Initials here)
AIR CONDITIONING
UNIT SERIAL #:
VALVES: operational and correct position
COMPRESSOR: no unusual noise, no leaks, maintaining proper temperature
CONDENSATE WATER PLAN AND DRAIN: clean, no smell, no leaks, drains freely, no slime
LEAKS: none, hot/ chilled water system
BLOWER FAN: clean, lubricated, check belts, blades, proper repair, secure mounting, quiet operation
COOLING/HEATING: functioning comfortable
FILTER AND GRILLS - clean, good repair, appearance
ELECTRICAL CONNECTIONS - secure, tight, covered, good condition
PLUG AND RECEPTACLE - secure, proper fit, good wire
THERMOSTAT - secure, functioning, proper adjustment cycle time
LAMPS / SWITCHES / OUTLETS
WALL SWITCHES - - clean, secure, functional, all screws intact and color matches plate
LAMP SWITCHES- functional, secure, repair
LAMP SOCKETS - tight, functional
BULBS - not burned-out, proper wattage,
LAMP SHADES - clean, repair, appearance, color coordinated, hand tight
LAMP BASES - functional, mounted properly, repair, clean, appearance
LAMP FIXTURES- appearance, repair, functional, clean
PLUGS / WIRES - proper length, repair, not placed under rug or carpet, no extension cords
PLUG RECEPTACLES- grounded, good repair, functional, clean, all screws intact
SWITCH / RECEPTACLE COVER PLATES - clean, good repair, secure, all screws intact
TV / RADIO /TELEPHONE/ ELECTRONICS
TV SERIAL NUMBER:
TV CABLE WALL RECEPTACLE - secure, in good repair
CABLE BOX - functional, good repair, cable connections, appearance
TV SECURITY MOUNT - tight, secure, security system functional
TV CHECK - channel instructions posted, good working order, clear picture
BUTTONS / CONTROLS - in place, tight, functional
REMOTE CONTROL - functional, batteries, appearance, placement
RADIO / ALARM - volume, alarm, time, remote is functional
DVD - functional, cable connections, remote is functional, good picture
TELEPHONE - dialing instructions posted, dial tone, cord, rings in / out, dials w/ ease, message light, clean, wall receptacle
FURNITURE
MIRRORS - repair, clean, no streaks, secure
DRESSER/ DESK - handles / knobs, drawer guides lubricated, drawer stops functional, sturdy, stain/touch-up, appearance
TABLES - appearance, repair, clean, balanced, sturdy, stain/ touch up
CHAIRS - appearance, repair, clean, sturdy, no fabric damage, guides / casters, touch-up
NIGHT STANDS - appearance, repair, clean, sturdy, handles/knobs tight, drawer guides lubricated, drawer stops functional, stain/ touch-up
SOFA / EASY CHAIRS - appearance, repair, clean, sturdy, no fabric damage or stains, legs / arms
PILLOWS /SHAMS/ THROWS / BEDDING - appearance, clean, no fabric damage, stains, frays
BED - appearance, repair, clean, sturdy, guides / casters, legs, headboard, footboard
BED FRAME: secure, tight, repair, casters/ guides in place
HEADBOARD: secure, centered, good repair, clean, appearance, stain/ touch-up as needed.
MATTRESS / BOX SPRING - appearance, repair, clean, sturdy, firm, no fabric damage, skirt
PICTURES- appearance, repair, clean, no damage, secure, frame, stain/ touch-up
COAT RACK / HOOKS - secure, in place
WASTEBASKET - clean, repair, no dents, no rust, unlined
SLIDING DOOR
SLIDING DOOR GENERAL - mounted properly, appearance, repair, clean, no damage
GLASS - in place, clean, no damage
WEATHER STRIPPING - clean, secure, functional
DOOR HANDLE/ LOCK - functional, secure, physical check of locking device, clean, repair
DOOR STOP / BUMPERS - in place, functional, proper contact
FLOOR GUIDES - ease of operation, proper lubrication, turn freely, clean, functional
SLIDING TRACK DOOR - appearance, repair, clean, functional, locking device
SCREENS - in place, clean functional, repair, locking device
ENTRANCE DOOR
ENTRANCE DOOR GENERAL - appearance, repair, clean, stain/ touch-up, self closing, self locking
ROOM NUMBER / ENTRY MAT - in place, appearance, clean
DOOR HANDLES - secure, functional, ease in operation
LOCK CYLINDER SET SCREW - in place, knob tight
LOCK MECHANISM / PUSH PIN: functional, locks with ease, locks door automatically when door is closed
LOCK STRIKER PLATE - secure, tight fit, aligned
SECONDARY LOCK (DOOR CHAIN / SLIDER) - functional
DOOR VIEWER: in place, functional, secure
HINGES / HINGE PINS - secure, tight, lubricated if self closing, functional
DOOR FRAME BUMPER - in place, proper contact, proper width for alignment, repair
DOOR FIT / OPERATION - tight, functional, closes tight and locks, no air leaks, quiet
DOOR CLOSER- functional, adjusted, doesn't slam (door must self close from half way point)
DO NOT DISTURB SIGN - in place, clean, appearance
ROOM RATE CARD: in place, clean, appearance, accurate, covered
FIRE EXIT PLAN - in place, accurate, clean, appearance, up to date, easy to understand
CONNECTING DOOR
CONNECTING DOOR GENERAL: appearance, repair, clean, functional
DOOR HANDLES - secure, functional, ease in operation
LOCK MECHANISM: functional, locks with ease, locks door automatically when door is closed
LOCK STRIKER PLATE - secure, tight fit, aligned
SECONDARY LOCK (DOOR CHAIN / SLIDER) - functional
WINDOWS
WINDOWS GENERAL - mounted, properly, appearance, repair, clean, no damage
WEATHER STRIPPING - clean, secure, functional
WINDOW HANDLE / LOCK - functional, secure, physical check of locking devices, easy
WINDOW GUIDES / STOPS - ease of operation, proper lubrication, alignment, secure
SILLS - clean, repair, paint, caulked
SCREENS - in place, clean, functional, in good repair, locking device
WINDOW TREATMENT
BLINDS - in place, functional, proper length, ease of operation, wand / pull string work
SHEERS / CURTAINS - clean, appearance, properly hung, length, no fabric damage, stain
PULL CORDS / WANDS: in place, functional, proper length, ease of operations
HARDWARE: intact, functional, ease of operation, all hooks in place
AIR LEAKS
WEATHER STRIPPING - in place, repair, seal, functional
AIR LEAKS - windows, door, A/C/heater unit, caulking, door threshold, door sweep
DOOR THRESHOLDS: in place, proper seal, secure, tight, no air leaks
WALLS/ FLOORING/ CEILING
BASEBOARDS AND CORNER GUARDS - secure, no loose boards, clean, touch-up
CARPET- clean, appearance, repair, no spots/burn holes, no puckering, no trip hazards, secure to floor
FLOOR AND WALL TILE: appearance, repair, grout, no trip hazards, clean
PAINT / VINYL- no cracks or damage, no spots, peeling paint or stains, no dust, no cobwebs
CEILINGS - no cracks or damage, no spots, peeling paint or stains, no dust, no cobwebs
BATHROOM
BATHROOM DOOR(s) GENERAL - mounted properly, clean, appearance, touch-up
DOOR HANDLE/ LOCK - secure, functional, ease of operation, locking device works
LOCKING MECHANISM: functional, locks with ease
LOCK STRIKER PLATE - secure, tight fit, aligned
HINGES / HINGE PINS - secure, tight, lubricate
DOOR FRAM BUMPER - in place, proper contact, proper width for alignment
DOOR FIT OPERATION - tight functional, no large gaps
ROBE HOOKS / TOWEL BARS - secure, functional, not tarnished, mounted properly, tight
DOOR STOP: functional, proper contact, replace if necessary
BATHTUB - clean, caulked properly, slip guards, grab bars secure,
BATH DRAIN / PLUG - POP UP VALVE - functional, not tarnished, drains freely
BATH MIXING VALVE - handles secure, proper balance, proper position H-C, not tarnished check hot water temperature
BATH FAUCETS - appearance, no leaks, no drips, not tarnished, proper position H-C
BATH ESCUTCHEON PLATE - secure, clean, tight
SHOWER HEAD - intact, flow restrictor, clean, repair, functional, no deposits, not tarnished
SOAP DISH/ GRAB BAR - appearance, secure, functional, clean, intact, not tarnished
SHOWER CURTAIN / ROD - appearance, secure, hangers in place, not tarnished, length
SHOWER ENCLOSURE/ TRACKS/ DOORS / BUMPERS - clean, functional, appearance, no damage, ease of operation, no safety hazards
TOILET GENERAL - appearance, repair, clean, no stains, secure, tank intact
TOILET SEAT - appearance, repair, clean, bumpers intact, secure, no stains, length
TOILET SEAL - repair, no leaks, sturdy mount
TOILET FLUSH VALVE - no leaks, good flow, functional, float positioned properly, shuts off
TOILET PAPER HOLDER - secure, clean, not worn, not tarnished
SINK GENERAL- appearance, repair clean, no stains, no damage, tight, secure
SINK DRAIN PLUGS / POP UPS - functional, not tarnished, drains freely
SINK ESCUTCHEON PLATE - secure, clean, tight
SINK MIXING VALVE - handles secure, proper balance, proper positioning H-C, not tarnished, check hot water temperature
SINK FAUCETS - appearance, repair, no leaks, no drips, not tarnished, proper position HC
FAUCET STRAINER / FLOW RESTRICTOR - clean, in place, secure, not tarnished
SOAP DISH - clean, appearance, repair, secure
TRAP UNDER SINK BASIN- clean as required, no leaks, free flowing, no smell
TISSUE HOLDER - appearance, clean, secure, no sharp surfaces, not tarnished
TOWEL BARS/ SHELVES- secure, appearance, not tarnished, proper placement
MIRROR - appearance, clean, secure, no damage, frame, makeup mirror
VANITY GENERAL - appearance, repair, clean, secure, no burn marks, stains, cracks hairdryer, makeup stool
VANITY LIGHTING - functional, proper illumination, plug outlet functional, bulbs, grounded
WALL SWITCH - clean, secure, functional, appearance, all screws in tact
PLUG RECEPTACLES - grounded, good repair, functional, clean, color matches cover plate
SWITCH / RECEPTACLE COVER PLATES - clean, good repair, secure, all screws intact
EXHAUST FANS - functional, fan quite, clean, secure
WASTEBASKET - clean, no smell, good repair, no dents, no liner
CEILINGS - appearance, repair, clean, no cracks, spots, stains, peeling paint, dust, cobwebs
PAINT / WALL - appearance, repair, clean, no paint splatter, peeling paint, stains, cobwebs
CLOSET
CLOSET DOOR - mounted properly, appearance, repair, clean, stain / touch-up paint
DOOR HANDLE - secure, functional, ease in operation, locking devices works properly
HINGES / HINGE PINS - secure, tight, lubricated, functional, no over spray (paint)
SHELF - secure, clean, mounted properly
ROD - secure, clean, not tarnished, mounted properly
HANGERS - in good repair, clips
IN ROOM SAFE - functional, in good repair, appearance
IRON / IRON BOARD - functional, in good repair, appearance
LUGGAGE RACK: appearance, repair, clean, straps in place, caps on all legs
KITCHENETTE
REFRIGERATOR
STOVE
MICROWAVE
DISHWASHER
CABINETS
COFFEE MAKER
SINK
DRY BAR
WET BAR
OTHER
SMOKE DETECTOR
FIRE EXTINGUISHER
FIRE SPRINKLER

## Lobby-FrontDesk
LEGEND | Lobby / Front Desk
ü = ITEM OK
X = REPAIR COMPLETE
\ = NEEDS REPAIR
n = NOT APPLICABLE
Quarter: Use a new sheet quarterly | Date & Initials
| (Date & Initials here) | (Date & Initials here) | (Date & Initials here) | (Date & Initials here)
ENTRANCE
ENTRANCE DOOR GENERAL - appearance, repair, damage, signage
HANDLES - secure, in good repair
HINGES / HINGE PINS - lubricate and secure
DOOR FRAME - appearance, repair
BUMPERS - if necessary
CHECK DOORS FOR SMOOTH TIGHT FIT - adjust if needed
EMERGENCY EXIT - check operation, signage, lights burned out, check alarm if equipped
WALLS/ FLOORS/ CEILING
BASEBOARDS AND CORNER GUARDS - appearance, repair, scratches, loose boards
FLOOR AND WALL TILE - appearance, grout, no trip hazards, clean
PICTURES - mounting, appearance
CEILINGS - appearance, repair, no cracks, no peeling pain, no stains, no dust or cobwebs
PAINT - appearance, paint splatter, peeling, cracks, stains
FURNITURE / SEATING AREA's
COUNTERTOPS -appearance, repair, defects
SEATING AREA(s)- clean, neat, appearance, no stains
CHAIRS: appearance, clean, sturdy
TABLES: appearance, clean, sturdy
BUSINESS CENTER: desk, chairs, monitors, keyboards, tower
GIFT SHOP: appearance, clean, operable
LIGHTING / ELECTRICAL
BULBS - replace as necessary, proper wattage, all in working order
LIGHT FIXTURES - appearance, repair, operation, clean
EMERGENCY LIGHTING - check operation, test charging unit
OUTLET WALL PLATES - appearance, repair, match wall color, clean, secure, all screws in tact
SWITCHES- functional, match wall color, clean, secure, all screws intact
WINDOWS
GLASS- clean, no damage
WINDOW TREATMENTS - hung properly, secure, all hardware intact, clean, appearance
WINDOW HARDWARE - secure, clean, functional
WINDOW GUIDES / STOPS - repair, lubricate, replace if necessary
COOLING / HEATING
VALVES: operation and correct positioning
THERMOSTAT: secure, functioning, adjustment, cycle time
FILTERS AND GRILLS: appearance, repair, clean
CONDENSATE WATER PAN AND DRAIN: clean, no smell, no leaks, drains freely
BLOWER FAN: clean, lubricated, check belts, blades repair, quiet operation
LEAKS: check for leaks, compressor checks
COOLING / HEATING: functioning, comfort
TELEPHONE
DIALING INSTRUCTIONS: clean, legible, replace if necessary
DEFECT: report all telephone defects to proper vendor or repair / replace if hotel owned
RESTROOMS
TOILET FLUSH VALVE: repair, check operation
TOILET SEATS: appearance, repair, clean, replace if necessary
TOILET SEALS: repair, leaks, sturdy mount
LAVATORY DRAIN PLUGS/ POP UPS: functional, check operation, not tarnished
MIXING VALVES: secure handle, proper balance
WASHERS: replace if necessary, no leaks
FAUCETS: appearance, repair, no leaks, not tarnished
EXHAUST FANS: functioning, repair, clean, quiet operation
GRILLS: appearance, clean
TRAPS UNDER BASIN: clean as required
FAUCET STRAINER AND FLOW
FAUCET STRAINER AND FLOW: clean, replace if necessary, even flow
TOILET PAPER HOLDERS: secure, clean
TOWEL DISPENSERS
COAT HOOKS: secure
STALLS
STALLS: appearance, repair, clean, no graffiti
FLOOR WALL TILE
URINALS: appearance, repair, clean, no graffiti
FLOOR / WALL TILE: appearance, grout, no trip hazards, proper drainage
SOAP DISPENSERS: functional, repair, clean
TOILET PRIVACY LOCKS: functional
MIRRORS: clean, good repair, no damage
SMELL: clean, fresh
OTHER
STAIRS: repair railed, non-skid surfaces, no trip hazards
DIRECTORY: appearance, clean, visible, sturdy
DRINKING FOUNTAIN: appearance, smell, repair, clean, pressure, water temp, not tarnished
VENDING MACHINES: repair, clean, operating correctly
HANDICAPPED FACILITIES: well identified, proper signage, accessible
BROCHURE RACK: appearance, repair, visible
SIGNAGE: appearance, repair, visible, professional
DESK AREA - appearance, neat, organized
FIRE EXTINGUISHERS : accessible, directions posted, proper charge, inspected, tagged, numbered
SMELL: clean, fresh